## Slide 1: DC GENERATOR
Doç. Dr. Orhan KAPLAN

## Slide 2: Construction

## Slide 3: Construction

## Slide 4: Construction

## Slide 8
The elementary ac and dc generators in Figs. 1 and 4 are essentially built the same way. In each case, a coil rotates between the poles of a magnet and an ac voltage is induced in the coil. The machines only differ in the way the coils are connected to the external circuit (Fig. 6): ac generators carry slip rings (Fig. 6b) while dc generators require a commutator (Fig. 6a). We sometimes build small machines which carry both slip rings and a commutator (Fig. 6c). Such machines can function simultaneously as ac and dc generators.

## Slide 14
Thus, by shifting the brushes the output voltage decreases. Furthermore, in this position, the brushes continually short-circuit coils that generate 7 V. Large currents will flow in the short-circuited coils and brushes, and sparking will result. Thus, shifting the brushes off the neutral position reduces the voltage between the brushes and at the same time causes sparking. When sparking occurs, there is said to be poor commutation.

## Slide 15
DA makinalarda endüklenen gerilim 3 faktöre bağlıdır;
1.) Makinadaki akı değeri
2.) Dönüş hızı
3.) Makinanın yapısını temsil eden bir sabit

## Slide 16
Because the conductors lie in a magnetic field, they are subjected to a force, according to Lorentz’s law. If we examine the direction of current flow and the direction of flux, we find that the individual forces F on the conductors all act clockwise. In effect, they produce a torque that acts opposite to the direction in which the generator is being driven. To keep the generator going, we must exert a torque on the shaft to overcome this opposing electromagnetic torque. The resulting mechanical power is converted into electrical power, which is delivered to the generator load. That is how the energy conversion process takes place.

## Slide 19: DA GENERATÖRLERİN SINIFLANDIRILMASI

## Slide 20
DA GENERATÖR EŞDEĞER DEVRE

## Slide 21
YABANCI UYARTIMLI DA GENERATÖRLER

## Slide 22
YABANCI UYARTIMLI DA GENERATÖRLER

## Slide 23
YABANCI UYARTIMLI DA GENERATÖRLER

## Slide 24
Endüvide endüklenen gerilim manyeto motor kuvvetin lineer olmayan bir fonksiyonu olduğundan herhangi bir uyartım akımı değeri için bu gerilimin belirlenmesi oldukça zordur.
Bu amaçla mutlaka mıknatıslanma (boş çalışma) eğrileri kullanılmalıdır.
Buna ilaveten makinada kompanzasyon sargısı bulunmuyorsa yük akımının artırılması endüvi reaksiyonunun etkisiyle ana alanın zayıflamasına dolayısıyla, Ea gerilimin azalmasına yol açar.
Bu tür durumlarda eşdeğer uyartım akımı tanımlamak, bu akım değeri kullanılarak makinanın boş çalışma akımını belirleyerek yüklü uç gerilimi bulunabilir.
IF* : eşdeğer uyartım akımı
YABANCI UYARTIMLI DA GENERATÖRLER

## Slide 29
ŞÖNT DA GENERATÖRLER

## Slide 30
ŞÖNT DA GENERATÖRLER

## Slide 31
ŞÖNT DA GENERATÖRLER

## Slide 32
ŞÖNT DA GENERATÖRLER

## Slide 34
ŞÖNT DA GENERATÖRLER

## Slide 35
Quiz

## Slide 36
SERİ DA GENERATÖRLER

## Slide 37
SERİ DA GENERATÖRLER

## Slide 38
KOMPUND DA GENERATÖRLER
EKLEMELİ KOMPUND

## Slide 39
KOMPUND DA GENERATÖRLER
EKLEMELİ KOMPUND

## Slide 40
KOMPUND DA GENERATÖRLER

## Slide 41
KOMPUND DA GENERATÖRLER
ÇIKARMALI KOMPUND

## Slide 42
Problemler
Prb.9.22

## Slide 43
Fig.9.7